# GOODWE
Op deze pagina's vind je de ondersteuning voor de GOODWE omvormers. In het overzicht klik je op de omvormer op specifieke instellingen terug te vinden. Zie je de omvormer niet direct in de lijst dan kan je via Omvormer ondersteuning terug vinden wat de mogelijkheden zijn.
## Overzicht ondersteunde GOODWE omvormers
Family	Handleiding	Fase	MODBUS	TYPE	Monitoring	Battery	Curtailen	Firmware versie	Remark
XS		1F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
XS Plus		1F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
DNS		1F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
DNS G3		1F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
MS		1F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
SDT G2		3F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
SDT G2 Plus+		3F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
SMT		3F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
MT		3F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
HT 1100V		3F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
HT 1500V		3F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
UT		3F	RTU	STRING	Works with Jullix EMS			FW 1.2.2 en later	via GENERIC SUNSPEC
BH		1F	RTU	RETRO	Works with Jullix EMS	Works with Jullix EMS		FW 1.2.7 en later
BT		3F	RTU	RETRO	Works with Jullix EMS	Works with Jullix EMS		FW 1.2.7 en later
EH		1F	RTU	HYBRIDE	Works with Jullix EMS	Works with Jullix EMS		FW 1.2.7 en later
ET		3F	RTU	HYBRIDE	Works with Jullix EMS	Works with Jullix EMS		FW 1.2.7 en later

Disclaimer: De vermelding van de ondersteunde omvormers op deze en onderliggende pagina's is louter informatief. Of en hoe een specifieke omvormer effectief ondersteund wordt door de Jullix EMS is afhankelijk van verschillende parameters: de situatie, de omvormerfabrikant, de omvormer software, enz. Innovoltus behoudt zich het recht om onaangekondigd deze pagina's aan te passen. Er kan dan ook geen enkele aansprakelijkheid jegens innovoltus of elicity gesteld worden als gevolg van een omvormer die niet(meer) ondersteund wordt door het Jullix EMS.